{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["标准品和试剂"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"标准品和试剂","index":0,"n_rows":70,"n_cols":13,"rows_kept":70,"merged":[[0,0,0,12],[69,0,69,12]],"flags":["formulas_cached_only"]}
["  附件1                         技术中心实验室标准品需求表(子包1)"]
["序号","需求实验室","物品名称","数量","单位","类别（生物试剂类、化学试剂类、实验耗材类或标准品物质类）","单价（元）","总价（元）","送货地址","品牌","产地（国产或进口）","技术参数","备注"]
[1,"化矿金属产品检测实验室","苯甲酸标准物质（发热量）GBW(E)130035",5,"盒","标准品物质类",null,null,"潮阳口岸综合大楼3楼或泰星路3号",null,"国产","GBW(E)130035"]
[2,"化矿金属产品检测实验室","轻质油品中氯含量测定用标准物质3.0mg/L",1,"盒","标准品物质类",null,null,"潮阳口岸综合大楼3楼或泰星路3号",null,"国产","3.0mg/L"]
[3,"化矿金属产品检测实验室","轻质油品中氯含量测定用标准物质5.0mg/L",1,"盒","标准品物质类",null,null,"潮阳口岸综合大楼3楼或泰星路3号",null,"国产","5.0mg/L"]
[4,"化矿金属产品检测实验室","轻质油品中氯含量测定用标准物质10.0mg/L",1,"盒","标准品物质类",null,null,"潮阳口岸综合大楼3楼或泰星路3号",null,"国产","10.0mg/L"]
[5,"化矿金属产品检测实验室","汞标准溶液1000μg/mL",2,"瓶","标准品物质类",null,null,"潮阳口岸综合大楼3楼或泰星路3号",null,"国产","1000μg/mL"]
[6,"化矿金属产品检测实验室","原油样品A质控样",4,"瓶","标准品物质类",null,null,"潮阳口岸综合大楼3楼或泰星路3号",null,"国产","酸值、硫含量"]
[7,"食品检测实验室","山梨酸",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/mL，5ml/支，有证书","按需发货"]
[8,"食品检测实验室","苯甲酸",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/mL，5ml/支，有证书","按需发货"]
[9,"食品检测实验室","糖精钠",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/mL，5ml/支，有证书","按需发货"]
[10,"食品检测实验室","安赛蜜",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/mL，5ml/支，有证书","按需发货"]
[11,"食品检测实验室","水中四氯化碳检测标准品",2,"瓶","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/L，有证书","按需发货"]
[12,"食品检测实验室","水中三氯甲烷检测标准品",2,"瓶","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/L，有证书","按需发货"]
[13,"食品检测实验室","水中氟化物",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/L，50ml/支，有证书","按需发货"]
[14,"食品检测实验室","水中氯化物",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/L，50ml/支，有证书","按需发货"]
[15,"食品检测实验室","水中硫酸盐",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/L，50ml/支，有证书","按需发货"]
[16,"食品检测实验室","水中硝酸盐",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","1000ug/L，50ml/支，有证书","按需发货"]
[17,"食品检测实验室","铂-钴标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","500度","按需发货"]
[18,"食品检测实验室","氰化物",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","50.0mg/L，有证书","按需发货"]
[19,"食品检测实验室","AgNO3标准滴定溶液",1,"瓶","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","0.1mol/L(0.1007M)","按需发货"]
[20,"食品检测实验室","11种青霉素标准溶液",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","100ug/mL，1ml/支，有证书","按需发货"]
[21,"食品检测实验室","4种硝基呋喃代谢物混标",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","100ug/mL，1ml/支，有证书","按需发货"]
[22,"食品检测实验室","4种硝基呋喃同位素混标液",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","100ug/mL，1ml/支，有证书","按需发货"]
[23,"食品检测实验室","林可霉素等9种残留量混标",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","100ug/mL，1ml/支，有证书，符合GB/T 20762-2006方法","按需发货"]
[24,"食品检测实验室","罗红霉素-D7同位素溶液标准物质",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"国产","100ug/mL，1ml/支，有证书，符合GB/T 20762-2006方法","按需发货"]
[25,"食品检测实验室","甲苯咪唑、氨基甲苯咪唑、羟基甲苯咪唑、奥芬达唑混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","100μg/mL，1ml/支，有证书","按需发货"]
[26,"食品检测实验室","331种农药混标(GB 23200.121)",1,"瓶","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"/","≥50μg/mL，1ml/支，有证书","按需发货"]
[27,"食品检测实验室","β-受体激动剂混标(GB 31658.22)",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50μg/mL，1ml/支，有证书","按需发货"]
[28,"食品检测实验室","克伦特罗D9",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[29,"食品检测实验室","盐酸莱克多巴胺D6",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[30,"食品检测实验室","沙丁胺醇D3",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[31,"食品检测实验室","特步他林D9",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[32,"食品检测实验室","氨基糖苷混合标准溶液(GB/T 21323)",2,"瓶","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50μg/mL，1ml/支，有证书","按需发货"]
[33,"食品检测实验室","5种还原糖单标或混标(GB 5009.8)",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100mg/ml或各1g，有证书，","按需发货"]
[34,"食品检测实验室","三氯蔗糖",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50mg，有证书","按需发货"]
[35,"食品检测实验室","氯霉素、甲砜霉素、氟苯尼考、氟苯尼考胺混合标准溶液",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[36,"食品检测实验室","氯霉素D3",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50μg/mL，1ml/支，有证书","按需发货"]
[37,"食品检测实验室","三聚氰胺",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[38,"食品检测实验室","四环素、金霉素、土霉素、强力霉素混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[39,"食品检测实验室","群勃龙、勃地酮、诺龙、甲睾酮、17α-羟基孕酮、甲羟孕酮、乙酸甲地孕酮、美仑孕酮、雌二醇、乙烯雌酚、己二烯雌酚、己烷雌酚混合标准溶液（GB/T 21981）",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50μg/mL，1ml/支，有证书","按需发货"]
[40,"食品检测实验室","勃地酮d3、甲睾酮d3、甲地孕酮乙酸酯d3、美仑孕酮d3、甲羟孕酮d3、17α-羟基孕酮d8、孕酮d9混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50μg/mL，1ml/支，有证书","按需发货"]
[41,"食品检测实验室","雌二醇13C2、己烯雌酚d6、己二烯雌酚d2、己烷雌酚d1混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥50μg/mL，1ml/支，有证书","按需发货"]
[42,"食品检测实验室","孔雀石绿、隐色孔雀石绿、结晶紫、隐色结晶紫混合标准溶液",2,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"进口","≥100μg/mL，1ml/支，有证书","按需发货"]
[43,"食品检测实验室","孔雀石绿D5、隐色孔雀石绿D6、结晶紫D6、隐色结晶紫D6混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"进口","≥100μg/mL，1ml/支，有证书","按需发货"]
[44,"食品检测实验室","氨基砜、N-乙酰氨苯砜混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[45,"食品检测实验室","氯丙嗪标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[46,"食品检测实验室","金刚烷胺、金刚乙胺混合标准溶液",1,"支","标准品物质类",null,null,"大华11号实验楼5楼或泰星路3号",null,"不限","≥100μg/mL，1ml/支，有证书","按需发货"]
[47,"化矿金属产品检测实验室","轻质油品中硫含量测定用标准物质1.0mg/L",2,"盒","标准品物质类",null,null,"潮阳口岸综合大楼3楼",null,"国产","1.0mg/L"]
[48,"化矿金属产品检测实验室","轻质油品中硫含量测定用标准物质10.0mg/L",2,"盒","标准品物质类",null,null,"潮阳口岸综合大楼3楼",null,"国产","10.0mg/L"]
[49,"消费品检测中心","13种有机锡混标",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","符合EN 71-3要求,以有机锡阳离子计，1mL/瓶，1000µg/mL 在甲醇中","带标准物质证书，到货后有效期2年以上"]
[50,"消费品检测中心","四种有机锡内标D27、D36、D15、D9",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","D27、D36、D15、D9，1mL/瓶，100µg/mL 在甲醇中，符合EN71-3要求","带标准物质证书，到货后有效期1年以上"]
[51,"消费品检测中心","16种ICP混标 ",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产"," IS-23946-100X-1，100mL/瓶，100 µg/mL溶于硝酸含微量HF,符合EN 71-3","带标准物质证书，保证到货后有效期至少还有一年"]
[52,"消费品检测中心","苯甲酸苄酯Benzyl benzoate，\nCAS.120-51-4",40,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","5.0mg/mL，1mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[53,"消费品检测中心","10种邻苯二甲酸酯混标在二氯甲烷中，1000ppm/5000ppm",6,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000ppm/5000ppm在二氯甲烷中,1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[54,"消费品检测中心","10种邻苯二甲酸酯混标在正己烷中，1000ppm/5000ppm",2,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000ppm/5000ppm在正己烷中,1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[55,"消费品检测中心","18多环芳烃混标（符合GB/T 29614），1000ppm甲苯中",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000µg/mL在甲苯中，1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[56,"消费品检测中心","5种半挥发物氘代多环芳烃内标包含：4000ppm\nD8（萘）、D10（芘、 蒽、 菲、） D12（ 苝）",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","4000µg/mL在甲苯中,1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[57,"消费品检测中心","10种PBDE混标，100ppm",2,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100µg/mL在甲苯中,,1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[58,"消费品检测中心","10种PBB混标，100ppm",2,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100µg/mL在甲苯中,,1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[59,"消费品检测中心","十氯联苯CB209,1000µg/mL在环己烷中",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000µg/mL在环己烷中,1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[60,"消费品检测中心","4,4’-二溴八氟联苯  DBOFB,Cas.10386-84-2，100mg/瓶",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","Cas.10386-84-2，100mg/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[61,"消费品检测中心","十溴联苯醚 BDE209,纯品，100mg/瓶",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[62,"消费品检测中心","邻苯二甲酸二(2-乙基)己酯-3,4,5,6-d4/\n邻苯二甲酸二(2-乙基)己酯-[D4](DEHP-[D4])，100mg/瓶",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[63,"消费品检测中心","邻苯二甲酸二丁酯-3,4,5,6-D4(BBP-[D4])，纯品，100mg/瓶",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[64,"消费品检测中心","甲酰胺",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","纯品，1g/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[65,"消费品检测中心","13种亚硝胺混标（EN 71-12:2013）",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000mg/L，1mL","带标准物质证书，保证到货后有效期至少还有一年"]
[66,"消费品检测中心","N-亚硝基二乙醇胺-D8",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","纯品，10mg/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[67,"消费品检测中心","N-亚硝基二甲胺-D6",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","纯品，1mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
["标准品总共77110.00元。"]