{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["标准品和试剂","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"标准品和试剂","index":0,"n_rows":18,"n_cols":12,"rows_kept":18,"merged":[[0,0,0,11]],"flags":["formulas_cached_only"]}
[" 标准品需求表（子包2）"]
["序号","物品名称","数量","单位","类别（生物试剂类、化学试剂类、实验耗材类或标准品物质类）","单价（元）","总价（元）","送货地址","推荐品牌","产地（国产或进口）","技术参数","备注"]
[1,"铅（Pb）标准溶液",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100μg/ml于1mol/L硝酸,50mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[2,"铜（Cu）标准溶液",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100μg/ml于1mol/L硝酸,50mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[3,"铝（Al）标准溶液",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100μg/ml于1mol/L硝酸,50mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[4,"硼（B）标准溶液",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100μg/ml于1mol/L硝酸,50mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[5,"镉（Cd）标准溶液",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","100μg/ml于1mol/L硝酸,50mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[6,"水中甲醛标准溶液",5,"支","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/L于水，20mL/支","带标准物质证书，保证到货后有效期至少还有一年"]
[7,"环己烷中ε-六六六标准溶液 ",2,"支","标准品物质类",null,null,"澄海外经大楼",null,"国产","10mg/L于环己烷，1.2mL/支","带标准物质证书，按需发货，保证到货后有效期至少还有一年"]
[8,"SCCPs短链氯化石蜡，C10-C13，51.5%Cl标准溶液",1,"支","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/L于正己烷，10mL/支","带标准物质证书，按需发货，保证到货后有效期至少还有一年"]
[9,"SCCPs短链氯化石蜡，C10-C13，55.5%Cl标准溶液",1,"支","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/L于正己烷，10mL/支","带标准物质证书，按需发货，保证到货后有效期至少还有一年"]
[10,"SCCPs短链氯化石蜡，C10-C13，63%Cl标准溶液",1,"支","标准品物质类",null,null,"澄海外经大楼",null,"国产","100mg/L于正己烷，10mL/支","带标准物质证书，按需发货，保证到货后有效期至少还有一年"]
[11,"甲醇中9种TVOC混标套装（苯、甲苯、乙酸丁酯、对二甲苯、间二甲苯、邻二甲苯、苯乙烯、乙苯、十一烷）",2,"套","标准品物质类",null,null,"澄海外经大楼",null,"国产","1套（3*1瓶），10ug/mL、100ug/mL、1000ug/mL每个浓度各1瓶，2mL/瓶","带标准物质证书，按需发货，保证到货后有效期至少还有一年"]
[12,"10种邻苯二甲酸酯混标",6,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000ppm（DIBP、DBP、DPP、DNHP、BBP、DEHP、DCHP、DNOP）/5000ppm(DINP、DIDP)在二氯甲烷中,1mL/瓶","带标准物质证书，保证到货后有效期至少还有一年"]
[13,"47种致敏性芳香剂混标",1,"支","标准品物质类",null,null,"澄海外经大楼",null,"国产","1000mg/L于二氯甲烷，1.2mL/瓶,适用于GB/T 38424-2019 ","带标准物质证书，按需发货，保证到货后有效期至少还有一年"]
[14,"N，N-二甲基甲酰胺-[D7] 分析标准品",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","纯品，100mg/瓶","带标准物质证书，按需发货"]
[15,"34种正构烷烃混标（C7-C40） ",1,"瓶","标准品物质类",null,null,"澄海外经大楼",null,"国产","500 ppm（mg/L），1mL/瓶","带标准物质证书，按需发货"]
[{"$nulls":6},{"v":13570,"d":"13570.00"}]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}